# **Usage:**

Sked Sled is compact, lightweight roll that can be used as a stokes, a basket and a stretcher in all types of rescue situations.

# **Specifications:**

* Sked Sled
* Rolled and stored in a cordura nylon bag
* Dimensions:
  + Rolled: 9” diam. x 36” long
  + Flat: 36”x96”
* Weight: 19lbs total
* Material: Low Density polyethylene plastic
* Begins to melt between 450o and 500 o
* Becomes brittle at 120 o
* Nylon webbing
  + Tensile strength:10,000lbs
* Brass grommets
* Steel buckles
* Tow Strap-rated to 300Lbs
* Short and Long lift straps-7’ and 6½’ long
* Vertical lift rigging-30’ of 3/8” diam. kernmantle rope with a carabiner attached
* 4 extra handles

# **operations:**

* Remove sked from apparatus
* Take sled out of bag, unroll and reverse roll to flatten
* Place patient in sled, use a backboard if necessary, for patient care
* Use straps to secure patient in sled
* The patient can be dragged, raised vertically and horizontally with the provided straps and rigging
* Remove patient, re-roll sled and place back in bag

# **maintenance:**

* Inspect sled, webbing, and rope for abrasions and deterioration
* Wash with soap and water
* Disinfect sled if needed with wipes